## lighting_sets
template | building_type | space_type | lighting_per_area_w_per_m2 | lighting_per_area | lighting_fraction_to_return_air | lighting_fraction_radiant | lighting_fraction_visible
necb2011 | Space Function | Library - cataloging | 10 | 0.92903 | 0 | 0.2 | 0.6
necb2011 | Automotive facility | WholeBuilding | 10 | 0.92903 | 0 | 0.2 | 0.6
necb2011 | Convention centre | WholeBuilding | 10 | 0.92903 | 0 | 0.2 | 0.6
necb2011 | Courthouse | WholeBuilding | 10 | 0.92903 | 0 | 0.2 | 0.6
necb2011 | Dining - bar/lounge | WholeBuilding | 10 | 0.92903 | 0 | 0.2 | 0.6
necb2011 | Dining - cafeteria | WholeBuilding | 10 | 0.92903 | 0 | 0.2 | 0.6
necb2011 | Dining - family | WholeBuilding | 10 | 0.92903 | 0 | 0.2 | 0.6
necb2011 | Dormitory | WholeBuilding | 10 | 0.92903 | 0 | 0.2 | 0.6
necb2011 | Exercise centre | WholeBuilding | 10 | 0.92903 | 0 | 0.2 | 0.6
necb2011 | Fire station | WholeBuilding | 10 | 0.92903 | 0 | 0.2 | 0.6
necb2011 | Gymnasium | WholeBuilding | 10 | 0.92903 | 0 | 0.2 | 0.6
necb2011 | Health-care clinic | WholeBuilding | 10 | 0.92903 | 0 | 0.2 | 0.6
necb2011 | Hospital | WholeBuilding | 10 | 0.92903 | 0 | 0.2 | 0.6
necb2011 | Hotel | WholeBuilding | 10 | 0.92903 | 0 | 0.2 | 0.6
necb2011 | Library | WholeBuilding | 10 | 0.92903 | 0 | 0.2 | 0.6
necb2011 | Manufacturing facility | WholeBuilding | 10 | 0.92903 | 0 | 0.2 | 0.6
necb2011 | Motel | WholeBuilding | 10 | 0.92903 | 0 | 0.2 | 0.6
necb2011 | Motion picture theatre | WholeBuilding | 10 | 0.92903 | 0 | 0.2 | 0.6
necb2011 | Multi-unit residential | WholeBuilding | 10 | 0.92903 | 0 | 0.2 | 0.6
necb2011 | Museum | WholeBuilding | 10 | 0.92903 | 0 | 0.2 | 0.6
necb2011 | Office | WholeBuilding | 10 | 0.92903 | 0 | 0.2 | 0.6
necb2011 | Parking garage | WholeBuilding | 10 | 0.92903 | 0 | 0.2 | 0.6
necb2011 | Penitentiary | WholeBuilding | 10 | 0.92903 | 0 | 0.2 | 0.6
necb2011 | Performing arts theatre | WholeBuilding | 10 | 0.92903 | 0 | 0.2 | 0.6
necb2011 | Police station | WholeBuilding | 10 | 0.92903 | 0 | 0.2 | 0.6
necb2011 | Post Office | WholeBuilding | 10 | 0.92903 | 0 | 0.2 | 0.6
necb2011 | Religious | WholeBuilding | 10 | 0.92903 | 0 | 0.2 | 0.6
necb2011 | Retail | WholeBuilding | 10 | 0.92903 | 0 | 0.2 | 0.6
necb2011 | School/university | WholeBuilding | 10 | 0.92903 | 0 | 0.2 | 0.6
necb2011 | Sports arena | WholeBuilding | 10 | 0.92903 | 0 | 0.2 | 0.6
necb2011 | Town hall | WholeBuilding | 10 | 0.92903 | 0 | 0.2 | 0.6
necb2011 | Transportation | WholeBuilding | 10 | 0.92903 | 0 | 0.2 | 0.6
necb2011 | Warehouse | WholeBuilding | 10 | 0.92903 | 0 | 0.2 | 0.6
necb2011 | Workshop | WholeBuilding | 10 | 0.92903 | 0 | 0.2 | 0.6
necb2011 | Warehouse - refrigerated | WholeBuilding | 10 | 0.92903 | 0 | 0.2 | 0.6
necb2011 | Space Function | Atrium - H < 13m | 10 | 0.92903 | 0 | 0.2 | 0.6
necb2011 | Space Function | Atrium - H > 13m | 10 | 0.92903 | 0 | 0.2 | 0.6
necb2011 | Space Function | Audience - auditorium | 10 | 0.92903 | 0 | 0.2 | 0.6
necb2011 | Space Function | Audience - performance arts | 10 | 0.92903 | 0 | 0.2 | 0.6
necb2011 | Space Function | Audience - motion picture | 10 | 0.92903 | 0 | 0.2 | 0.6
necb2011 | Space Function | Classroom/Lecture/Training | 10 | 0.92903 | 0 | 0.2 | 0.6
necb2011 | Space Function | Conf./meet./multi-purpose | 10 | 0.92903 | 0 | 0.2 | 0.6
necb2011 | Space Function | Corr. >= 2.4m wide-sch-A | 10 | 0.92903 | 0 | 0.2 | 0.6
necb2011 | Space Function | Corr. >= 2.4m wide-sch-B | 10 | 0.92903 | 0 | 0.2 | 0.6
necb2011 | Space Function | Corr. >= 2.4m wide-sch-C | 10 | 0.92903 | 0 | 0.2 | 0.6
necb2011 | Space Function | Corr. >= 2.4m wide-sch-D | 10 | 0.92903 | 0 | 0.2 | 0.6
necb2011 | Space Function | Corr. >= 2.4m wide-sch-E | 10 | 0.92903 | 0 | 0.2 | 0.6
necb2011 | Space Function | Corr. >= 2.4m wide-sch-F | 10 | 0.92903 | 0 | 0.2 | 0.6
necb2011 | Space Function | Corr. >= 2.4m wide-sch-G | 10 | 0.92903 | 0 | 0.2 | 0.6
necb2011 | Space Function | Corr. >= 2.4m wide-sch-H | 10 | 0.92903 | 0 | 0.2 | 0.6
necb2011 | Space Function | Corr. >= 2.4m wide-sch-I | 10 | 0.92903 | 0 | 0.2 | 0.6
necb2011 | Space Function | Corr. < 2.4m wide-sch-A | 10 | 0.92903 | 0 | 0.2 | 0.6
necb2011 | Space Function | Corr. < 2.4m wide-sch-B | 10 | 0.92903 | 0 | 0.2 | 0.6
necb2011 | Space Function | Corr. < 2.4m wide-sch-C | 10 | 0.92903 | 0 | 0.2 | 0.6
necb2011 | Space Function | Corr. < 2.4m wide-sch-D | 10 | 0.92903 | 0 | 0.2 | 0.6
necb2011 | Space Function | Corr. < 2.4m wide-sch-E | 10 | 0.92903 | 0 | 0.2 | 0.6
necb2011 | Space Function | Corr. < 2.4m wide-sch-F | 10 | 0.92903 | 0 | 0.2 | 0.6
necb2011 | Space Function | Corr. < 2.4m wide-sch-G | 10 | 0.92903 | 0 | 0.2 | 0.6
necb2011 | Space Function | Corr. < 2.4m wide-sch-H | 10 | 0.92903 | 0 | 0.2 | 0.6
necb2011 | Space Function | Corr. < 2.4m wide-sch-I | 10 | 0.92903 | 0 | 0.2 | 0.6
necb2011 | Space Function | Dining - other | 10 | 0.92903 | 0 | 0.2 | 0.6
necb2011 | Space Function | Dining - bar lounge/leisure | 10 | 0.92903 | 0 | 0.2 | 0.6
necb2011 | Space Function | Dining - family space | 10 | 0.92903 | 0 | 0.2 | 0.6
necb2011 | Space Function | Dress./fitt. - performance arts | 10 | 0.92903 | 0 | 0.2 | 0.6
necb2011 | Space Function | Electrical/Mechanical-sch-A | 10 | 0.92903 | 0 | 0.2 | 0.6
necb2011 | Space Function | Electrical/Mechanical-sch-B | 10 | 0.92903 | 0 | 0.2 | 0.6
necb2011 | Space Function | Electrical/Mechanical-sch-C | 10 | 0.92903 | 0 | 0.2 | 0.6
necb2011 | Space Function | Electrical/Mechanical-sch-D | 10 | 0.92903 | 0 | 0.2 | 0.6
necb2011 | Space Function | Electrical/Mechanical-sch-E | 10 | 0.92903 | 0 | 0.2 | 0.6
necb2011 | Space Function | Electrical/Mechanical-sch-F | 10 | 0.92903 | 0 | 0.2 | 0.6
necb2011 | Space Function | Electrical/Mechanical-sch-G | 10 | 0.92903 | 0 | 0.2 | 0.6
necb2011 | Space Function | Electrical/Mechanical-sch-H | 10 | 0.92903 | 0 | 0.2 | 0.6
necb2011 | Space Function | Electrical/Mechanical-sch-I | 10 | 0.92903 | 0 | 0.2 | 0.6
necb2011 | Space Function | Food preparation | 10 | 0.92903 | 0 | 0.2 | 0.6
necb2011 | Space Function | Lab - classrooms | 10 | 0.92903 | 0 | 0.2 | 0.6
necb2011 | Space Function | Lab - research | 10 | 0.92903 | 0 | 0.2 | 0.6
necb2011 | Space Function | Lobby - other | 10 | 0.92903 | 0 | 0.2 | 0.6
necb2011 | Space Function | Lobby - elevator | 10 | 0.92903 | 0 | 0.2 | 0.6
necb2011 | Space Function | Lobby - performance arts | 10 | 0.92903 | 0 | 0.2 | 0.6
necb2011 | Space Function | Lobby - motion picture | 10 | 0.92903 | 0 | 0.2 | 0.6
necb2011 | Space Function | Locker room-sch-A | 10 | 0.92903 | 0 | 0.2 | 0.6
necb2011 | Space Function | Locker room-sch-B | 10 | 0.92903 | 0 | 0.2 | 0.6
necb2011 | Space Function | Locker room-sch-C | 10 | 0.92903 | 0 | 0.2 | 0.6
necb2011 | Space Function | Locker room-sch-D | 10 | 0.92903 | 0 | 0.2 | 0.6
necb2011 | Space Function | Locker room-sch-E | 10 | 0.92903 | 0 | 0.2 | 0.6
necb2011 | Space Function | Locker room-sch-F | 10 | 0.92903 | 0 | 0.2 | 0.6
necb2011 | Space Function | Locker room-sch-G | 10 | 0.92903 | 0 | 0.2 | 0.6
necb2011 | Space Function | Locker room-sch-H | 10 | 0.92903 | 0 | 0.2 | 0.6
necb2011 | Space Function | Locker room-sch-I | 10 | 0.92903 | 0 | 0.2 | 0.6
necb2011 | Space Function | Lounge/recreation | 10 | 0.92903 | 0 | 0.2 | 0.6
necb2011 | Space Function | Washroom-sch-A | 10 | 0.92903 | 0 | 0.2 | 0.6
necb2011 | Space Function | Washroom-sch-B | 10 | 0.92903 | 0 | 0.2 | 0.6
necb2011 | Space Function | Washroom-sch-C | 10 | 0.92903 | 0 | 0.2 | 0.6
necb2011 | Space Function | Washroom-sch-D | 10 | 0.92903 | 0 | 0.2 | 0.6
necb2011 | Space Function | Washroom-sch-E | 10 | 0.92903 | 0 | 0.2 | 0.6
necb2011 | Space Function | Washroom-sch-F | 10 | 0.92903 | 0 | 0.2 | 0.6
necb2011 | Space Function | Washroom-sch-G | 10 | 0.92903 | 0 | 0.2 | 0.6
necb2011 | Space Function | Washroom-sch-H | 10 | 0.92903 | 0 | 0.2 | 0.6
necb2011 | Space Function | Washroom-sch-I | 10 | 0.92903 | 0 | 0.2 | 0.6
necb2011 | Space Function | Sales area | 10 | 0.92903 | 0 | 0.2 | 0.6
necb2011 | Space Function | Stairway-sch-A | 10 | 0.92903 | 0 | 0.2 | 0.6
necb2011 | Space Function | Stairway-sch-B | 10 | 0.92903 | 0 | 0.2 | 0.6
necb2011 | Space Function | Stairway-sch-C | 10 | 0.92903 | 0 | 0.2 | 0.6
necb2011 | Space Function | Stairway-sch-D | 10 | 0.92903 | 0 | 0.2 | 0.6
necb2011 | Space Function | Stairway-sch-E | 10 | 0.92903 | 0 | 0.2 | 0.6
necb2011 | Space Function | Stairway-sch-F | 10 | 0.92903 | 0 | 0.2 | 0.6
necb2011 | Space Function | Stairway-sch-G | 10 | 0.92903 | 0 | 0.2 | 0.6
necb2011 | Space Function | Stairway-sch-H | 10 | 0.92903 | 0 | 0.2 | 0.6
necb2011 | Space Function | Stairway-sch-I | 10 | 0.92903 | 0 | 0.2 | 0.6
necb2011 | Space Function | Storage area | 10 | 0.92903 | 0 | 0.2 | 0.6
necb2011 | Space Function | Workshop space | 10 | 0.92903 | 0 | 0.2 | 0.6
necb2011 | Space Function | Automotive - repair | 10 | 0.92903 | 0 | 0.2 | 0.6
necb2011 | Space Function | Bank - banking and offices | 10 | 0.92903 | 0 | 0.2 | 0.6
necb2011 | Space Function | Convention centre - audience | 10 | 0.92903 | 0 | 0.2 | 0.6
necb2011 | Space Function | Convention centre - exhibit | 10 | 0.92903 | 0 | 0.2 | 0.6
necb2011 | Space Function | Courthouse - courtroom | 10 | 0.92903 | 0 | 0.2 | 0.6
necb2011 | Space Function | Courthouse - cell | 10 | 0.92903 | 0 | 0.2 | 0.6
necb2011 | Space Function | Courthouse - chambers | 10 | 0.92903 | 0 | 0.2 | 0.6
necb2011 | Space Function | Penitentiary - audience | 10 | 0.92903 | 0 | 0.2 | 0.6
necb2011 | Space Function | Penitentiary - classroom | 10 | 0.92903 | 0 | 0.2 | 0.6
necb2011 | Space Function | Penitentiary - dining | 10 | 0.92903 | 0 | 0.2 | 0.6
necb2011 | Space Function | Dormitory - living quarters | 10 | 0.92903 | 0 | 0.2 | 0.6
necb2011 | Space Function | Dwelling Unit(s) | 10 | 0.92903 | 0 | 0.2 | 0.6
necb2011 | Space Function | Fire station - engine room | 10 | 0.92903 | 0 | 0.2 | 0.6
necb2011 | Space Function | Fire station - quarters | 10 | 0.92903 | 0 | 0.2 | 0.6
necb2011 | Space Function | Gym - fitness | 10 | 0.92903 | 0 | 0.2 | 0.6
necb2011 | Space Function | Gym - audience | 10 | 0.92903 | 0 | 0.2 | 0.6
necb2011 | Space Function | Gym - play | 10 | 0.92903 | 0 | 0.2 | 0.6
necb2011 | Space Function | Hospital corr. >= 2.4m-sch-A | 10 | 0.92903 | 0 | 0.2 | 0.6
necb2011 | Space Function | Hospital corr. >= 2.4m-sch-B | 10 | 0.92903 | 0 | 0.2 | 0.6
necb2011 | Space Function | Hospital corr. >= 2.4m-sch-C | 10 | 0.92903 | 0 | 0.2 | 0.6
necb2011 | Space Function | Hospital corr. >= 2.4m-sch-D | 10 | 0.92903 | 0 | 0.2 | 0.6
necb2011 | Space Function | Hospital corr. >= 2.4m-sch-E | 10 | 0.92903 | 0 | 0.2 | 0.6
necb2011 | Space Function | Hospital corr. >= 2.4m-sch-F | 10 | 0.92903 | 0 | 0.2 | 0.6
necb2011 | Space Function | Hospital corr. >= 2.4m-sch-G | 10 | 0.92903 | 0 | 0.2 | 0.6
necb2011 | Space Function | Hospital corr. >= 2.4m-sch-H | 10 | 0.92903 | 0 | 0.2 | 0.6
necb2011 | Space Function | Hospital corr. >= 2.4m-sch-I | 10 | 0.92903 | 0 | 0.2 | 0.6
necb2011 | Space Function | Hospital corr. < 2.4m-sch-A | 10 | 0.92903 | 0 | 0.2 | 0.6
necb2011 | Space Function | Hospital corr. < 2.4m-sch-B | 10 | 0.92903 | 0 | 0.2 | 0.6
necb2011 | Space Function | Hospital corr. < 2.4m-sch-C | 10 | 0.92903 | 0 | 0.2 | 0.6
necb2011 | Space Function | Hospital corr. < 2.4m-sch-D | 10 | 0.92903 | 0 | 0.2 | 0.6
necb2011 | Space Function | Hospital corr. < 2.4m-sch-E | 10 | 0.92903 | 0 | 0.2 | 0.6
necb2011 | Space Function | Hospital corr. < 2.4m-sch-F | 10 | 0.92903 | 0 | 0.2 | 0.6
necb2011 | Space Function | Hospital corr. < 2.4m-sch-G | 10 | 0.92903 | 0 | 0.2 | 0.6
necb2011 | Space Function | Hospital corr. < 2.4m-sch-H | 10 | 0.92903 | 0 | 0.2 | 0.6
necb2011 | Space Function | Hospital corr. < 2.4m-sch-I | 10 | 0.92903 | 0 | 0.2 | 0.6
necb2011 | Space Function | Hospital - emergency | 10 | 0.92903 | 0 | 0.2 | 0.6
necb2011 | Space Function | Hospital - exam | 10 | 0.92903 | 0 | 0.2 | 0.6
necb2011 | Space Function | Hospital - laundry/washing | 10 | 0.92903 | 0 | 0.2 | 0.6
necb2011 | Space Function | Hospital - lounge/recreation | 10 | 0.92903 | 0 | 0.2 | 0.6
necb2011 | Space Function | Hospital - medical supply | 10 | 0.92903 | 0 | 0.2 | 0.6
necb2011 | Space Function | Hospital - nursery | 10 | 0.92903 | 0 | 0.2 | 0.6
necb2011 | Space Function | Hospital - nurses station | 10 | 0.92903 | 0 | 0.2 | 0.6
necb2011 | Space Function | Hospital - operating room | 10 | 0.92903 | 0 | 0.2 | 0.6
necb2011 | Space Function | Hospital - patient room | 10 | 0.92903 | 0 | 0.2 | 0.6
necb2011 | Space Function | Hospital - pharmacy | 10 | 0.92903 | 0 | 0.2 | 0.6
necb2011 | Space Function | Hospital - physical therapy | 10 | 0.92903 | 0 | 0.2 | 0.6
necb2011 | Space Function | Hospital - radiology/imaging | 10 | 0.92903 | 0 | 0.2 | 0.6
necb2011 | Space Function | Hospital - recovery | 10 | 0.92903 | 0 | 0.2 | 0.6
necb2011 | Space Function | Hotel/Motel - dining | 10 | 0.92903 | 0 | 0.2 | 0.6
necb2011 | Space Function | Hotel/Motel - rooms | 10 | 0.92903 | 0 | 0.2 | 0.6
necb2011 | Space Function | Hotel/Motel - lobby | 10 | 0.92903 | 0 | 0.2 | 0.6
necb2011 | Space Function | Hway lodging - dining | 10 | 0.92903 | 0 | 0.2 | 0.6
necb2011 | Space Function | Hway lodging - rooms | 10 | 0.92903 | 0 | 0.2 | 0.6
necb2011 | Space Function | Library - reading | 10 | 0.92903 | 0 | 0.2 | 0.6
necb2011 | Space Function | Library - stacks | 10 | 0.92903 | 0 | 0.2 | 0.6
necb2011 | Space Function | Mfg - corr. >= 2.4m-sch-A | 10 | 0.92903 | 0 | 0.2 | 0.6
necb2011 | Space Function | Mfg - corr. >= 2.4m-sch-B | 10 | 0.92903 | 0 | 0.2 | 0.6
necb2011 | Space Function | Mfg - corr. >= 2.4m-sch-C | 10 | 0.92903 | 0 | 0.2 | 0.6
necb2011 | Space Function | Mfg - corr. >= 2.4m-sch-D | 10 | 0.92903 | 0 | 0.2 | 0.6
necb2011 | Space Function | Mfg - corr. >= 2.4m-sch-E | 10 | 0.92903 | 0 | 0.2 | 0.6
necb2011 | Space Function | Mfg - corr. >= 2.4m-sch-F | 10 | 0.92903 | 0 | 0.2 | 0.6
necb2011 | Space Function | Mfg - corr. >= 2.4m-sch-G | 10 | 0.92903 | 0 | 0.2 | 0.6
necb2011 | Space Function | Mfg - corr. >= 2.4m-sch-H | 10 | 0.92903 | 0 | 0.2 | 0.6
necb2011 | Space Function | Mfg - corr. >= 2.4m-sch-I | 10 | 0.92903 | 0 | 0.2 | 0.6
necb2011 | Space Function | Mfg - corr. < 2.4m-sch-A | 10 | 0.92903 | 0 | 0.2 | 0.6
necb2011 | Space Function | Mfg - corr. < 2.4m-sch-B | 10 | 0.92903 | 0 | 0.2 | 0.6
necb2011 | Space Function | Mfg - corr. < 2.4m-sch-C | 10 | 0.92903 | 0 | 0.2 | 0.6
necb2011 | Space Function | Mfg - corr. < 2.4m-sch-D | 10 | 0.92903 | 0 | 0.2 | 0.6
necb2011 | Space Function | Mfg - corr. < 2.4m-sch-E | 10 | 0.92903 | 0 | 0.2 | 0.6
necb2011 | Space Function | Mfg - corr. < 2.4m-sch-F | 10 | 0.92903 | 0 | 0.2 | 0.6
necb2011 | Space Function | Mfg - corr. < 2.4m-sch-G | 10 | 0.92903 | 0 | 0.2 | 0.6
necb2011 | Space Function | Mfg - corr. < 2.4m-sch-H | 10 | 0.92903 | 0 | 0.2 | 0.6
necb2011 | Space Function | Mfg - corr. < 2.4m-sch-I | 10 | 0.92903 | 0 | 0.2 | 0.6
necb2011 | Space Function | Mfg - detailed | 10 | 0.92903 | 0 | 0.2 | 0.6
necb2011 | Space Function | Mfg - equipment | 10 | 0.92903 | 0 | 0.2 | 0.6
necb2011 | Space Function | Mfg - bay H > 15m | 10 | 0.92903 | 0 | 0.2 | 0.6
necb2011 | Space Function | Mfg - 7.5 <= bay H <= 15m | 10 | 0.92903 | 0 | 0.2 | 0.6
necb2011 | Space Function | Mfg - bay H < 7.5m | 10 | 0.92903 | 0 | 0.2 | 0.6
necb2011 | Space Function | Museum - exhibition | 10 | 0.92903 | 0 | 0.2 | 0.6
necb2011 | Space Function | Museum - restoration | 10 | 0.92903 | 0 | 0.2 | 0.6
necb2011 | Space Function | Parking garage space | 10 | 0.92903 | 0 | 0.2 | 0.6
necb2011 | Space Function | Post office sorting | 10 | 0.92903 | 0 | 0.2 | 0.6
necb2011 | Space Function | Religious - audience | 10 | 0.92903 | 0 | 0.2 | 0.6
necb2011 | Space Function | Religious - fellowship hall | 10 | 0.92903 | 0 | 0.2 | 0.6
necb2011 | Space Function | Religious - pulpit/choir | 10 | 0.92903 | 0 | 0.2 | 0.6
necb2011 | Space Function | Retail - dressing/fitting | 10 | 0.92903 | 0 | 0.2 | 0.6
necb2011 | Space Function | Retail - mall concourse | 10 | 0.92903 | 0 | 0.2 | 0.6
necb2011 | Space Function | Retail - sales | 10 | 0.92903 | 0 | 0.2 | 0.6
necb2011 | Space Function | Sports arena - audience | 10 | 0.92903 | 0 | 0.2 | 0.6
necb2011 | Space Function | Sports arena - court c4 | 10 | 0.92903 | 0 | 0.2 | 0.6
necb2011 | Space Function | Sports arena - court c3 | 10 | 0.92903 | 0 | 0.2 | 0.6
necb2011 | Space Function | Sports arena - court c2 | 10 | 0.92903 | 0 | 0.2 | 0.6
necb2011 | Space Function | Sports arena - court c1 | 10 | 0.92903 | 0 | 0.2 | 0.6
necb2011 | Space Function | Sports arena - ring | 10 | 0.92903 | 0 | 0.2 | 0.6
necb2011 | Space Function | Transp. baggage | 10 | 0.92903 | 0 | 0.2 | 0.6
necb2011 | Space Function | Transp. concourse | 10 | 0.92903 | 0 | 0.2 | 0.6
necb2011 | Space Function | Transp. - seating | 10 | 0.92903 | 0 | 0.2 | 0.6
necb2011 | Space Function | Transp. counter | 10 | 0.92903 | 0 | 0.2 | 0.6
necb2011 | Space Function | Warehouse - fine | 10 | 0.92903 | 0 | 0.2 | 0.6
necb2011 | Space Function | Warehouse - med/blk | 10 | 0.92903 | 0 | 0.2 | 0.6
necb2011 | Space Function | Warehouse - med/blk2 | 10 | 0.92903 | 0 | 0.2 | 0.6
necb2011 | Space Function | - undefined - | 10 | 0.92903 | 0 | 0.2 | 0.6
necb2011 | Space Function | Food preparation - vented | 10 | 0.92903 | 0 | 0.2 | 0.6
necb2011 | Space Function | Hospital - medical supply - occsens | 10 | 0.92903 | 0 | 0.2 | 0.6
necb2011 | Space Function | Storage area - occsens | 10 | 0.92903 | 0 | 0.2 | 0.6
necb2011 | Space Function | Storage area - refrigerated | 10 | 0.92903 | 0 | 0.2 | 0.6
necb2011 | Space Function | Storage area - refrigerated - occsens | 10 | 0.92903 | 0 | 0.2 | 0.6
necb2011 | Space Function | Warehouse - fine - refrigerated | 10 | 0.92903 | 0 | 0.2 | 0.6
necb2011 | Space Function | Warehouse - med/blk - refrigerated | 10 | 0.92903 | 0 | 0.2 | 0.6
necb2011 | Space Function | Warehouse - med/blk2 - refrigerated | 10 | 0.92903 | 0 | 0.2 | 0.6
necb2011 | Space Function | Office - enclosed | 10 | 0.92903 | 0 | 0.2 | 0.6
necb2011 | Space Function | Office - enclosed - occsens | 10 | 0.92903 | 0 | 0.2 | 0.6
necb2011 | Space Function | Office - open plan | 10 | 0.92903 | 0 | 0.2 | 0.6